	
	



KYRGYZ REPUBLIC

LAW

ON ENERGY PERFORMANCE OF BUILDINGS

The purpose of the present law is to facilitate improvement of the energy performance of buildings, taking into account thermal microclimate improvement in buildings, cost-effectiveness, reduction of energy resource consumption, and reduction of greenhouse gas emissions. 

Article 1. Legal regulations of relations in the field of energy performance of buildings  

The present law establishes a legal basis for the evaluation of energy efficiency and the reduction of energy resource consumption in buildings, energy efficient construction, as well as regulating the legal and institutional relationship between the owners of buildings regardless of ownership, certified specialists, and state enforcement authorities.

Article 2. Force of the presented Law

Force of the present Law applies to:

1) buildings: residential, public, administrative, non-manufacturing mixed use buildings, as well as buildings’ technical systems;

2) activities related to the efficient use of energy resources in buildings in their:

· design and construction 

· commissioning

· renting

· sale

· major renovation

Article 3. Key terms and definitions

The following key terms, concepts and definitions are used in the present law:

1) building – a construction project, consisting of spaces for human life activities, enclosing structures and technical systems, using electricity and heat energy for heating and hot water supply, as well as other systems and equipment intended for its operation;

2) energy renovation of a building - a one time change or incremental changes resulting in: 

a) walling of the existing building or its technical systems, which changes to its energy consumption structure due to the additional thermal insulation and replacement of translucent and opening structures; 

b) the level of thermal protection of the external walling accounting for more than 25% of its total area;

3) technical systems of a building - the technical equipment for heating domestic hot water, for ventilation, cooling and lighting, installed for one building;

4) boiler (a heat generator) – the combined structure consisting of direct boiler and burner unit and intended for the transmission of heat released during combustion to the heat carrier;

5) energy performance of buildings – quantity of energy required to meet all the expected energy needs at normative use of a building;

6) minimal requirements of energy performance of buildings– fixed minimum level of energy performance of buildings to be met;

7) class of energy performance of a building – classification, indicating the level of energy performance of buildings, characterized by an interval of values of specific consumption of thermal energy for heating and hot water supply of a building over the heating period;

8) energy certification of buildings – process of conducting a survey, collecting and processing information on the use of energy resources in order to obtain reliable information on the amount of used energy resources, parameters of the energy performance of buildings, identification of possibilities for energy conservation and energy efficiency improvement with the reflection of the results obtained in the energy certificate;

9) energy certificate of a building – document developed by an authorized body, which incorporates the parameters of energy performance of buildings, filed by an independent specialist who has passed the qualification certification;

10) certified specialist – physical person who has proven his or her professional competence and has been granted a State Qualification Certificate in the field of energy certification of buildings and execution of periodic monitoring of boilers, heating and hot water supply systems;

11) energy label (index of class of energy performance) – brief parameters of a building with regard to energy performance used for information purposes;

12) regular energy inspection of boilers, heating and hot water supply systems – set of measures taken to establish the compliance of boilers, heating and hot water supply systems with the requirements of energy performance.

Article 4. Legislation of the Kyrgyz Republic in the field of the energy performance of buildings

Legislation in the field of energy performance of buildings is composed of the law of the Kyrgyz Republic, “On energy saving”, the present law, other legal acts of the Kyrgyz Republic adopted in accordance with these laws, as well as international treaties the Kyrgyz Republic is a party to, which have entered into force in due course.

Article 5. Maintenace and principles of activity in the field of energy performance of buildings

1. Activities in the field of energy performance of buildings are based on the following principles:

1) effective and efficient use of energy resources;

2) reduction of primary energy consumption;

3) unity of the rules for establishing for building energy performance requirements;

4) support for improving the energy performance of buildings;

5) reduction of greenhouse gas emissions in CO2 equivalent;

6) compliance with international standards on energy performance of buildings in the regulatory and legal acts of the Kyrgyz Republic.

2. Minimal requirements of energy performance of buildings are approved by the Government of the Kyrgyz Republic. Minimal requirements of energy performance of buildings are subject to review at least once every 10 years.

3. Minimal requirements on energy performance do not apply to:

1)  residential buildings with a total area of less than 150 square meters;

2)  buildings, intended for religious rites, rituals and ceremonies;

3) buildings which fall under the category of objects of cultural heritage (cultural and historical monuments), under legislation of the Kyrgyz Republic, in which case fulfillment of the minimal requirements of energy performance are not possible due to changes in the style of building’s appearance and building envelope;


4) temporary buildings of non-investment construction;

5) country houses;
6) buildings and structures of auxiliary use.

4. New buildings and major renovated buildings, except as provided in point 3 of the following Article shall meet the minimal requirements of energy performance.

5. Project documentation should be designed to meet the minimal requirements of energy performance in order to obtain a permit for construction or major renovation of a building.

6. Newly constructed and major renovated buildings that do not meet the minimal requirements of energy performance are not eligible for commissioning.

7. Energy certification is obligatory for buildings specified in Article 2, apart from the specified in Clause 3 of this article of the present law. In all other cases is energy certification of buildings voluntary.

8. Energy efficiency improvement to existing buildings is provided at the expense of attracted and investment funds.

9. The confirmation of implementation of the energy certification of a building is an energy certificate for the building with the definition of the building’s energy label.

10. The energy certificate is issued for a duration of not more than ten years. The energy certificate expires before the validity date in case of reshaping and conversion of the building or changing the external walling and technical systems, resulting in alteration of building’s power consumption.

11. Apartment buildings, public buildings, administrative and mixed use buildings that underwent energy certification shall be labeled, and a signpost of the class of the energy performance of buildings should be displayed in a visible place on the facade.

12. Boilers installed for a building’s heating and hot water supply, as referred to in Article 2 of the present law, apart from boilers installed in buildings specified in point 3 of this Article, are subject to obligatory periodic energy inspection of boilers, heating and hot water systems. 

13. A confirmation of the implementation of periodic and one-off energy inspection of boilers, heating and hot water supply systems is a report on the inspection of boilers, heating and hot water supply systems.

14. The frequency of energy inspection of boilers, heating and hot water supply systems is established by the Government of the Kyrgyz Republic. 

Article 6. Activities of State bodies in the field of the energy performance of buildings

1. Activities of State bodies in the field of energy performance of buildings are implemented by:
1. establishing the minimal requirements and a list of indicators for energy performance of buildings according to their technical systems;

2. establishing procedures for the execution of liabilities set under the present law;

3. other State regulatory measures in the field of improving the energy performance of buildings set under the present law.

2. State regulation in the field of energy performance of buildings is executed by a state body authorized in the field of provision and implementation of unified state policy in the energy sector and by the state authorized body in the field of architecture and construction in the area of ​​energy efficiency in buildings.
3. The competences of the authorized state body in the area of provision and implementation of unique state policy in energy sector include:

1) drafting task programmes to increase energy efficiency of buildings;

2) monitoring the quality of work performed on energy certification of buildings and the quality of work on periodic energy inspection of boilers, heating and hot water systems;

3) carrying out state control of observation of legislation in the field of energy performance of buildings.

4. The competences of the authorized state body in the area of architecture and construction in the field of energy performance of buildings include:

1) implementation of state policies in the field of improving the energy performance of buildings;

2) establishment of rules to determine energy performance indicators and energy performance classes of buildings; 

3) definition and revision of minimal requirements of energy performance of buildings;

4) keeping state register of:

a) energy certificates of buildings;

b) inspection reports on the regular energy inspection of boilers, heating and hot water systems;

5) organization of training sessions, advanced training sessions for specialists, and carrying out qualifying state certification on energy efficiency of buildings and periodic energy inspection of boilers, heating and hot water systems;

6) approving and keeping a register of certified specialists in:

a) energy certification of buildings;

b) regular energy inspection of boilers, heating and hot water systems;

7) preparation of annual reports to authorized state body in the area of 

provision and implementation of unified state policy in the energy sector of Kyrgyz Republic on the results of activities in the energy certification and periodic energy inspection of boilers, heating and hot water systems;

8) coordination of works on preparing new projects with the aim to improve energy performance of buildings;

9) exercise of other powers in the field of improving energy performance of buildings and periodic energy inspection set under the present law and other regulatory and legal acts of the Kyrgyz Republic.

Article 7.  Activities of certified professionals in the field of energy efficiency in buildings

1. Energy certification of buildings and regular energy inspection of boilers, heating and hot water system is carried out by a certified specialist, based on contract between building owner and certified specialist.

Article 8. Monitoring the quality of work performed in the field of energy performance of buildings

1. Monitoring the quality of work performed in the field of energy performance

of buildings is carried out by selective examination of the energy certificates of buildings and (or) reports on periodic monitoring of the energy performance of boilers, heating and hot water supply systems;

2. The frequency of monitoring the quality of work performed in the field of energy performance of buildings depends on the availability of information or complaints from consumers, consumer associations, government supervision and control bodies, but should occur at least once a year.

Article 9. Rights and obligation of the parties

1. The owner of the building has 

1) the right to obtain a building energy certificate and a report on the regular inspection of boilers, heating and hot water systems with reliable information;
2) other rights, established by this Act and other normative legal acts of the Kyrgyz Republic.  

2. The cеrtified specialist has right:

1) to get project design documentation of building;

2) to conduct visual inspection of the building and its technical system;

3) other rights, established by this Act and other normative legal acts of the Kyrgyz Republic.  

3. The owner of the building shall assist the certified specialist in performing of energy certification of buildings and (or) regular energy inspection of boilers, heating and hot water systems.

4. The owners of a new building and energy renovated buildings are responsible for ensuring the building conforms to minimal energy requirements and is also responsible for displaying the building’s energy label (indicator of energy class).
5. The owner of the building is required: 

1) to keep the energy certificate and (or) inspection protocol from regular inspection of boilers, heating and hot water systems for the duration of its length of validity;
2) at selling the building, to hand over to the new owner a valid energy certificate must and (or) inspection protocol from regular inspection of boilers, heating and hot water systems;

3) at renting of the building, to hand over to the tenant an approved copy of the energy certificate and (or) inspection protocol from regular inspection of boilers, heating and hot water systems.
6. The certified specialist is required to:

1) provide building owners with technical and economic information on  improving energy performance of buildings;
2) have an appropriate qualification certificate for each type of activity (energy certification of buildings, regular inspection of the energy efficiency of boilers, heating and hot water systems);

3) send the completed energy certificates and (or) inspection protocols on regular energy insection of boilers, heating and hot water systems to the authorized state body in the field of architecture and construction.

Article 10. Responsibilities of parties
1. Certified specialist is responsible for the quality of work executed on the energy certification of buildings and (or) regular energy inspection of boilers, heating and hot water system.

2. Responsibility for the quality of work on the energy certification of a building rests with the appropriate certified specialist who signed the energy certification of that specific building.

3. Responsibility for the quality of work on the periodic monitoring of energy efficiency of boilers, heating and hot water supply systems of a building rests with the appropriate qualified specialist who signed the report on the periodic control of the energy efficiency of boilers, heating and hot water supply systems of that specific building.

4. In case of repeated confirmation of poor quality of work on the energy certification and (or) regular energy inspection of boilers, heating and hot water systems during monitoring, the certified specialist may be deprived of state qualification certificate for carrying out this type of work.

Article 11. Liability for violation of legislation in the field of the energy performance of buildings

Persons found guilty of violating the legislation on energy performance of buildings bear the administrative responsibility in accordance with the legislation of the Kyrgyz Republic.

Article 12. International cooperation in the field of improving the energy performance of buildings

1. International cooperation of the Kyrgyz Republic in the field of improving the energy performance of buildings is exercised in accordance with the legislation of the Kyrgyz Republic. 

2. The main directions of international cooperation in the field of improving the energy performance of buildings are:

1) mutually beneficial exchange of energy efficient technologies with foreign and international organizations;

2) participation of the Kyrgyz Republic in international projects in the field of improving the energy performance of buildings;

3) harmonization of the energy performance parameters defined by the norms of the Kyrgyz Republic with the requirements of the international standards and mutual recognition of outcomes of the energy certification of buildings.

3. If an international treaty, to which the Kyrgyz Republic is a party, establishes other rules than those stipulated in the present law, the provisions of the international treaty shall prevail.

Article 13. Advocacy and information support for the energy performance of buildings

Advocacy and information support for the energy performance of buildings is implemented by:

1)  organization of courses, seminars, and conferences in the field of energy performance of buildings;

2)  organization of exhibitions and competitions with the demonstration of high energy efficient equipment and technologies 

3)  establishment of an obligatory curriculum on efficient use of energy resources in enterprises, institutions and organizations in schools with a technical curriculum;

4) information provided and disseminated on issues relating to the energy performance of buildings;

5)  promotion of efficient use of energy resources and reduction greenhouse gas emissions.

Article 14. Entrance into force of the present Law

1.
The present Law shall come into force 6 months after the official announcement.

2.
The Government of the Kyrgyz Republic shall take the necessary measures to harmonize other regulatory and legal acts of the Kyrgyz Republic in accordance with the present law.

The President 
of the Kyrgyz Republic 





   Roza Otunbaeva
Bishkek,

July 26, 2011, #137

The Act of the Kyrgyz Republic “On Energy Performance of buildings”, page 9 of 9

